## Slide 1
Figure 1. Example of a clinical vs. automated KBP QA plan in which potential quality improvements were possible.
Knowledge Based Quality Assurance and Improvement in Locally Advanced Lung Cancer Radiotherapy in a Statewide Consortium of Academic and Community Practice Centers M. M. Matuszak1, M. Grubb1, R. Marsh1, K. M. Masi2, D. Lack3, D. A. Dryden4, M. Wilson5, D. Jarema1, D. Tatro1, E. P. Short6, T. J. Bichay7, J. M. Moran1, C. Fraser8, K. Vineberg1, P. A. Paximadis9, M. M. Dominello10,
J. D. Radawski11, L. L. Kestin5, L. J. Pierce1, S. Jolly1, J. A. Hayman1, T. P. Boike12, and On behalf of the Michigan Radiation Oncology Quality Consortium
1Michigan Medicine, Ann Arbor, MI, 2Karmanos Cancer Institute, Detroit, MI, 3Beaumont Health System, Troy, MI, 4McLaren Northern Michigan, Petoskey, MI, 5Michigan Healthcare Professionals, 21st Century Oncology, Farmington Hills, MI, 6Department of Radiation Oncology, Providence Cancer Center, Novi, MI, 7Saint Mary's Health Care, Ann Arbor, MI, 8Henry Ford Health System, Detroit, MI, 9Lakeland Radiation Oncology, St. Joseph, MI, 10Department of Oncology, Wayne State University School of Medicine, Detroit, MI, 11West Michigan Cancer Center, Rockford, MI, 12Karmanos Cancer Network, Detroit, MI
PURPOSE / OBJECTIVES
RESULTS
Treatment planning for locally advanced lung cancer is complex due to large PTVs and their close proximity to multiple organs at risk. Given the difficult tradeoff decisions encountered, it can be challenging to judge plan quality.
A statewide consortium of academic and community practices, the Michigan Radiation Oncology Quality Consortium (MROQC), collaborated to develop and validate a multi-institutional knowledge based planning (KBP) model of high quality lung plans for use as a quality assurance and improvement tool.
A multi-institutional locally advanced lung cancer knowledge based planning (KBP) model was created from plans collected by the Michigan Radiation Oncology Quality Consortium (MROQC), a statewide collaborative of community and academic practices.
The model was validated and confirmed to predict high quality plans as scored by a multidisciplinary team.
When using the model for QA in randomly selected clinical plans, 78% (25/32) and 41% (13/32) of cases were identified as having potential improvement in PTV coverage and ≥ 5 dosimetric OAR goals, respectively.
Work is ongoing to develop a vendor-neutral web-based interface to provide prospective patient-specific feedback on plan quality to consortium institutions.
A multi-institutional locally advanced lung cancer radiotherapy KBP model was created using 43 team-scored cases and validated using 10 independent team-scored high quality cases.
In the 10 validation cases, there were no significant differences in any of the target or OAR metrics in the high quality manual clinical plans vs. automated KBP plans, demonstrating that the model was able to predict and confirm HQC plans.
In 32 randomly selected clinical plans, the KBP model identified potential improvements in PTV coverage (2.3 +/- 3.0 Gy average improvement in D95%) in 78% of cases.
In 41% of cases, the KBP model identified improvement for ≥ 5 OAR metrics.
For example, the average estimated KBP reduction in heart mean dose was 1.9 +/- 1.6 Gy.
In 25% of cases, KBP identified simultaneous improvement in PTV coverage and ≥ 5 OAR metrics, with 3DCRT cases more likely see an improvement vs. intensity modulated cases.
The authors would like to thank the members of the Michigan Radiation Oncology Quality Consortium (MROQC) who have supported this work through their participation in the collaborative quality initiative.
MROQC is supported by Blue Cross Blue Shield of Michigan and the Blue Care Network as part of the BCBSM Value Partnerships program.
M. Matuszak has received grant funding in the area of KBP from Varian Medical Systems in the last 12 months
Please email Martha M. Matuszak (marthamm@med.umich.edu) for questions or visit mroqc.org
QUICK SUMMARY / CONCLUSION
MATERIALS & METHODS
ACKNOWLEDGEMENTS
Contact information:
56 plans from 9 institutions w/ different planning systems and techniques collected for KBP database
Multi-disciplinary case scoring to select high quality clinical plans (HQC) for KBP model
Model training with 43 cases and validation with 10 independent cases
32 randomly selected patients from 7 institutions planned with KBP for quality assurance/ improvement test
KBP Model
Figure 2. Example of a potential future use of the KBP quality improvement where the model was adjusted to reduce dose to the heart, demonstrating minimal effects on other goals.
Standard KBP Model
KBP+Reduced Heart Dose
Mean Heart Dose
22.4->17.8
PTV
Esophagus
SpinalCanal
Heart
Lungs-GTV
Original KBP: Triangles
KBP+Heart Sparing: Squares